## INSTRUCTIONS
How To Use This Calculator
1 | Only boxes highlighted in yellow require input
2 | START with the tab at the bottom labled INPUT
3 | INPUT those areas shaded in yellow ... only if you want to change what is there
4 | INPUT the terms of financing if applicable ...

## BTU
HEATING VALUES & EFFICIENCIES FOR VARIOUS FUELS1
(No Input Is Required)
FUEL | GROSS HEATING VALUE |  | EFFIC3 % | NET HEATING VALUE FOR COMPARISON COSTS
# 2 FUEL OIL | 138,800 Btu/Gallon |  | 83 | 115000 | Btu/Gallon
SEASONED FIREWOOD | 20,000,000 Btu/Cord |  | 77 | 15400000 | Btu/Cord
ELECTRICITY | 3,413 Btu/kWh |  | 98 | 3340 | Btu/KWh
PREMIUM WOOD PELLETS | 16,400,000 Btu/Ton |  | 83 | 13600000 | Btu/Ton
COAL2 | 25,000,000 Btu/Ton |  | 80 | 20000000 | Btu/Ton
PROPANE | 91,200 Btu/Gallon |  | 79 | 72000 | Btu/Gallon
1Values taken from the USDA Fuel Value Calculator - July '04
2Anthracite Coal
3Typical efficiencies are dependent upon several factors
2.0294

## FUELS
ANNUAL ALTERNATIVE ENERGY COST COMPARISONS
Your annual fuel oil usage (from INPUT sheet): |  | 1000
Current price per gallon of Fuel Oil (from INPUT sheet): |  | 3.66
Your current annual heating costs with oil is: |  | 3660
THE COMPARATIVE COST FOR ALTERNATIVE FUELS
Current cost per cord of seasoned firewood: |  |  |  | 210 | Per Cord
Current cost per kWh of electricity: |  |  |  | 0.104 | Per KWh
Current cost per ton of premium wood pellets: |  |  |  | 240 | Per Ton
Current cost per ton of coal (anthracite): |  |  |  | 310 | Per Ton
Current cost per gallon of propane: |  |  |  | 3.18 | Per Gallon
FUEL TYPE | ANNUAL USAGE |  | ANNUAL COSTS
#2 Fuel Oil | 1000 | Gallons | 3660
Seasoned Firewood | 7.4675 | Cords | 1568.1818
Electricity | 34431.1377 | KwH | 3580.8383
Premium Wood Pellets | 8.4559 | Tons | 2029.4118
Coal | 5.75 | Tons | 1782.5
Propane | 1597.2222 | Gallons | 5079.1667
ALTERNATIVE FUEL COST SAVINGS OVER OIL
FUEL TYPE | ANNUAL DOLLAR SAVINGS |  | PERCENTAGE SAVINGS
Seasoned Firewood | 2091.8182 |  | 57.15%
Electricity | 79.1617 |  | 2.163%
Premium Wood Pellets | 1630.5882 |  | 44.55%
Coal | 1877.5 |  | 51.3%
Propane | COSTS MORE |  | N0 SAVINGS

## INPUT
ALTERNATIVE FUEL CALCULATOR - INPUT DATA
This analysis is being done for: |  | John Q. Public |  |  | Insert full name
How many gallons of #2 Fuel oil do you annually use? Avg. Maine home is 900-1200. |  |  |  |  | 1000
Current cost per gallon of fuel oil: Use deciimal point when entering price |  |  |  |  | 3.66 | Per Gallon
Age of oil system(Assume 20 year life): |  |  |  |  | 20 | years
FUEL COSTS: You may change these costs to fit your region
Current cost per cord of seasoned firewood: As of 09/19/11 |  |  |  |  | 210 | Per Cord
Current cost per kWh of electricity: Houlton Water Co. As of 09/19/11 |  |  |  |  | 0.104 | Per KWh
Current cost per ton of premium wood pellets: As of 09/19/11 |  |  |  |  | 240 | Per Ton
Current cost per gallon of propane: As of 09/19/11 |  |  |  |  | 3.18 | Per Gallon
Current cost per ton of coal (anthracite): As of 09/19/11 |  |  |  |  | 310 | Per Ton
COST OF SYSTEMS: |  | You may change these costs to fit systems in your region
Estimated cost of replacement oil fired system: |  |  |  | Mid range cost as of: |  | 2011-09-19
System Cost | 5000 | Other Costs | 1500 |  | 9000
Installation Cost | 3000 | Renew. Energy Cred. | 500
Estimated cost of pellet boiler system: |  |  |  | Mid range cost as of: |  | 2011-09-19
System Cost | 12000 | Other Costs | 850 |  | 15850
Installation Cost | 3000 | Renew. Energy Cred. | 0
Estimated cost of wood boiler system: |  |  |  | Mid range cost as of: |  | 2011-09-19
System Cost | 10000 | Other Costs | 1500 |  | 14500
Installation Cost | 3000 | Renew. Energy Cred. | 0
Estimated cost of coal boiler system: |  |  |  | Mid range cost as of: |  | 2011-09-19
System Cost | 10000 | Other Costs | 3500 |  | 16500
Installation Cost | 3000 | Renew. Energy Cred. | 0
Estimated cost of propane boiler system: |  |  |  | Mid range cost as of: |  | 2011-09-19
System Cost | 5000 | Other Costs | 800 |  | 8800
Installation Cost | 3000 | Renew. Energy Cred. | 0
FINANCING TERMS (If Applicable):Amounts shown are placeholders only. Change to fit your needs.
Amount Borrowed:: | 10000 | Estimated Int. Rate:: | 5.5% | Term of Loan in Years: |  | 7

## PAYBACK
A. COST SAVINGS IF OIL IS USED AS BACK-UP HEAT
|  | Oil Boiler | Pellet Boiler | Coal Boiler | Wood Boiler | Propane Boiler
| System Costs | 5000 | 12000 | 10000 | 10000 | 5000
| Other Assoc. Costs | 1500 | 850 | 3500 | 1500 | 800
| Installation | 3000 | 3000 | 3000 | 3000 | 3000
| Renewable Energy Credits | 500 | 0 | 0 | 0 | 0
| TOTAL COSTS | 9000 | 15850 | 16500 | 14500 | 8800
| Age of system: | 20
| Amount of fuel oil used (gallons): | 1000
| Cost per gallon of oil | 3.66
| Total cost of fuel oil used | 3660
| Cost per ton of pellets | 240
| Equivalent pellet used in tons | 8.4559 | Pellets might be an opportunity to supplement Fuel Oil
| Total cost of pellets used | 2029.4118 | 10.8005 | Years PAYBACK if using 10% fuel oil
| Cost per cord of wood: | 210
| Equivalent wood used in cords | 7.4675 | Wood might be an opportunity to supplement Fuel Oil
| Total cost of cord wood used | 1568.1818 | 7.702 | Years PAYBACK if using 10% fuel oil
| Cost per ton of coal | 310
| Equaivalent coal used in tons | 5.75 | Coal might be an opportunity to supplement Fuel Oil
| Total cost of coal used | 1782.5 | 9.7648 | Years PAYBACK if using 10% fuel oil
| Cost per gallon of propane | 3.18
| Equaivalent propane used in gals | 1597.2222 | Presently Propane is Not a Good Altermative Choice
| Total cost of propane used | 5079.1667 | 0 | NO PAYBACK FOR NOW
B. COST SAVINGS IF OIL IS NOT USED AS BACK-UP HEAT
| Age of system: | 20
| Amount of fuel oil used (gallons): | 1000
| Cost per gallon of oil | 3.66
| Total cost of fuel oil used | 3660
| Cost per ton of pellets | 240
| Equivalent pellet use in tons | 8.4559 | Pellets Might be an Opportunity for Replacing Fuel Oil
| Total cost of pellets used | 2029.4118 | 9.7204 | Years PAYBACK with NO fuel oil used
| Cost per cord of wood | 210
| Equivalent wood use in cords | 7.4675 | Wood Might be an Opportunity for Replacing Fuel Oil
| Total cost of cord wood used | 1568.1818 | 6.9318 | Years PAYBACK with NO fuel oil used
| Cost per ton of coal | 310
| Equivalent coat use in tons | 5.75 | Coal Might be an Opportunity for Replacing Fuel Oil
| Total cost of coal used | 1782.5 | 8.7883 | Years PAYBACK if NO fuel oil used
| Cost per gallon of propane | 3.18
| Equaivalent propane used in gals | 1597.2222 | Presently Propane is Not a Good Alternative Choice
| Total cost of propane used | 5079.1667 | 0 | NO PAYBACK FOR NOW

## ANALYSIS
CUSTOMIZED ALTERNATIVE FUEL ANALYSIS FOR | [9 empty] | John Q. Public
Your current annual oil usage is: |  | 1000 | gallons |  | Your current annual fuel cost is: |  |  | 3660
COMPARATIVE ALTERNATIVE FUELS TO REPLACE YOUR CURRENT FUEL OIL USAGE
| FUEL TYPE |  | ANNUAL USAGE |  | ANNUAL COSTS | ANNUAL SAVINGS | % SAVINGS | MONTHLY SAVINGS
| #2 FUEL OIL |  | 1000 | Gallons | 3660
| DRIED FIREWOOD |  | 7.4675 | Cords | 1568.1818 | 2091.8182 | 57.15% | 174.3182 | SAVINGS PER MONTH
| ELECTRICITY |  | 34431.1377 | KwH | 3580.8383 | 79.1617 | 2.163% | 6.5968 | SAVINGS PER MONTH
| PREM. WD. PELLETS |  | 8.4559 | Tons | 2029.4118 | 1630.5882 | 44.55% | 135.8824 | SAVINGS PER MONTH
| COAL |  | 5.75 | Tons | 1782.5 | 1877.5 | 51.3% | 156.4583 | SAVINGS PER MONTH
| PROPANE |  | 1597.2222 | Gallons | 5079.1667 | COSTS MORE | N0 SAVINGS | 0 | COSTS MORE PER MONTH
COMPARING THE COSTS OF ENERGY UNITS, THE COST OF PELLETS THAT WOULD BE EQUAL TO THE OIL COSTS USED IN THIS ANALYSIS WOULD HAVE TO REACH | [8 empty] | 432.8348 | Per Ton
WHAT'S THE PAYBACK IF I ELIMINATE MY FUEL OIL SYSTEM ENTIRELY?
PLEASE NOTE: A positive feedback may not necessarily mean the system is a good idea. Check how long payback is in comparison to age of the system.
Years to payback a wood pellet system if replacing oil 100% |  |  |  |  | 9.7204 |  | Years | System has a positive feedback
Years to payback a coal system if replacing oil 100% |  |  |  |  | 8.7883 |  | Years | System has a positive feedback
Years to payback a wood boiler system if replacing oil 100% |  |  |  |  | 6.9318 |  | Years | System has a positive feedback
Years to payback a propane boiler system if replacing oil 100% |  |  |  |  | 0 |  | Years | Currently will not pay for itself
WHAT'S THE PAYBACK IF I USE FUEL OIL FOR ONLY 10% OF MY HEATING NEEDS?
PLEASE NOTE: A positive feedback may not necessarily mean the system is a good idea. Check how long payback is in comparison to age of the system.
Years to payback a wood pellet system if used 90% pellets/10% oil |  |  |  |  | 10.8005 |  | Years | System has a positive payback
Years to payback a coal system if used 90% coal/10% oil |  |  |  |  | 9.7648 |  | Years | System has a positive payback
Years to payback a wood boiler system if used 90% wood/10% oil |  |  |  |  | 7.702 |  | Years | System has a positive payback
Years to payback a propane boiler system if used 90% wood/10% oil |  |  |  |  | 0 |  | Years | Currently will not pay for itself
FINANCE COSTS - MONTHLY PAYMENT
LOAN AMOUNT |  | 10000 |  | TERM OF LOAN |  |  | 7
LOAN RATE |  | 5.5% |  | ANNUALIZED PAYMENT |  |  | 1759.6442
MONTHLY PAYMENTS |  | 146.637 |  | NOTE: Your monthly fuel savings may cover your monthly loan payment

## AMORTIZATION
AMORTIZATION TABLE
(No Input Is Required (Data Comes From INPUT Sheet)
LOAN DATA
Loan amount: |  | 10000 | Enter loan amount as numbers only. Example: 2500
| Annual interest rate: | 5.5% | Enter loan rate as a number with decimal point, but no % sign. Ex: 5.25
| Term in years: | 7 | Enter term as a number
| Payments per year: | 1 | Leave this set at 1 even if you make 12 monthly payments per year
PERIODIC PAYMENT
| Calculated payment: | 1759.6442 | Per payment period